{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":108,"n_cols":6,"rows_kept":108,"merged":[[0,1,0,5],[1,0,1,5],[91,0,91,5]],"flags":["formulas_cached_only"]}
[null,"化材学院基础实验低值易耗品"]
["安师大化材学院2018-2019学年第一学期玻璃仪器、小型设备招标计划"]
["序号","货品名称","规格","单位","采购数量","备注"]
[1,"50ml碱式滴定管尖嘴",null,"个",100]
[2,"75°弯管","19#","支",20]
[3,"饱和甘汞电极","212型","支",10,"来实验室看样定购"]
[4,"电导电极","DJS-1C型","支",10,"来实验室看样定购"]
[5,"玻璃棒","L=30cm","支",300]
[6,"玻璃滴管","15cm","支",1200]
[7,"玻璃漏斗","Φ=7.5CM","个",100]
[8,"玻璃漏斗","Φ=9CM","个",100]
[9,"玻璃漏斗","Φ=4.5CM","个",100]
[10,"玻璃毛细管","0.9-1.1mm(内径）","盒",10]
[11,"玻璃塞","19#","个",30]
[12,"不锈钢药刮","30cm","支",30]
[13,"不锈钢药匙","1*3","组",50]
[14,"布氏漏斗（带橡皮塞）","80mm","个",20]
[15,"层析柱（聚四氟乙烯旋塞）","19#,20×300mm","个",20]
[16,"抽滤瓶","500ml","个",30]
[17,"瓷坩埚","50mL","个",60]
[18,"磁子","A200","个",600]
[19,"磁子","A300","个",200]
[20,"磁子","A100","个",300]
[21,"刺型分馏柱","19#","个",20]
[22,"弹簧止水夹",null,"个",250]
[23,"打孔器","1*7","套",6]
[24,"点样毛细管","0.3×100 mm","盒",20]
[25,"碘量瓶","250 mL","个",30]
[26,"定量滤纸","直径15cm","盒",10]
[27,"封口夹","长度5-8cm","个","50个"]
[28,"封口夹","长度5-8cm","个","50个"]
[29,"盖玻片","标准","盒",4]
[30,"干燥管","磨口/19#","个",20]
[31,"广口瓶","60 mL","个",60]
[32,"广口瓶","125 mL","个",100]
[33,"缓冲球","24#转19#","个",3]
[34,"酒精喷灯","全铜座式","个",3]
[35,"冷凝管夹",null,"个",150]
[36,"梨形分液漏斗","125ml","个",50]
[37,"量筒","1000ml","个",10]
[38,"量筒","30cm*2.6cm ","个",10,"特制"]
[39,"量筒","10mL","个",200]
[40,"量筒","50mL","个",100]
[41,"量筒","100ml","个",200]
[42,"木质试管夹",null,"个",30]
[43,"耐水砂纸（静电植砂）","NO.600","张",10]
[44,"球形冷凝管","19# 20cm","个",30]
[45,"容量瓶","250ml","个",30]
[46,"熔点测定毛细管","0.9-1.1*100mm","盒",5,"一端封口"]
[47,"乳胶滴头","1×100个","包",30]
[48,"三角烧瓶","150ml","个",50]
[49,"三通","外径9mm","个",20]
[50,"烧杯","2000ml","个",10]
[51,"烧杯","1000ml","个",100]
[52,"烧杯","500ml","个",150]
[53,"烧杯","250ml","个",200]
[54,"烧杯","100ml","个",600]
[55,"烧杯","50ml","个",600]
[56,"烧杯","25ml","个",200]
[57,"烧瓶夹",null,"个",200]
[58,"烧瓶刷",null,"支",300]
[59,"十字夹",null,"个",300]
[60,"试管刷","硬毛小号","支",300]
[61,"试管刷","硬毛大号","支",200]
[62,"核磁管刷","细长","支",50]
[63,"水舀子",null,"个",5]
[64,"塑料烧杯","25ml","个",40]
[65,"铁坩埚","60mL","个",70]
[66,"铁架台",null,"套",20]
[67,"弯管塞","19#","个",30]
[68,"尾接管","19#","个",10]
[69,"洗耳球","大号","个",100]
[70,"洗瓶","500ml","个",200]
[71,"橡胶管","8*12mm","kg",10]
[72,"橡胶管","13*17mm","kg",10]
[73,"橡皮塞","7号","kg",3]
[74,"一次性无菌注射器（带针）","1ml","包",1]
[75,"圆底烧瓶","19#/250mL","个",20]
[76,"圆底烧瓶","19#/25ml","个",30]
[77,"圆底烧瓶","19#/100ml","个",80]
[78,"圆底烧瓶","19#/50ml","个",80]
[79,"针管/注射器","2mL","个",5,"配针头"]
[80,"针管/注射器","5mL","个",5,"配针头"]
[81,"针管/注射器","10mL","个",5,"配针头"]
[82,"针管/注射器","20mL","个",5,"配针头"]
[83,"针管/注射器","50mL","个",5,"配针头"]
[84,"针管/注射器","100mL","个",5,"配针头"]
[85,"真空尾接管19#","19#","个",20]
[86,"蒸馏头","19#","个",30]
[87,"直玻璃导管","口径5*7mm，长约1.5米","kg",20,"95料"]
[88,"棕色试剂瓶","1000mL","个",10]
["小型设备"]
["序号","名称","参数、型号","单位","数量","备注"]
[1,"电子天平","ABS外壳，不锈钢秤盘，液晶显示屏，分度值0.01g，最大值2000g。","台",6]
[2,"电子天平","ABS外壳，不锈钢秤盘，液晶显示屏，分度值0.1g，最大值3000g。","台",6]
[3,"网线","3m长","台",1]
[4,"活动扳手","12寸","台",2]
[5,"活动扳手","8寸","台",1]
[6,"保险丝","F250mAL250V","台",10,"上海辰华仪器公司（CHI815电化学工作站上使用）"]
[7,"电色谱上的铂金电极","SPPL-015；3.5cm","台",2,"上海通微毛细管电泳仪TRISEP-2100 使用，其订货号：80032"]
[8,"特氟龙管","PET365","个",1,"上海通微毛细管电泳仪TRISEP-2100 使用，其订货号：80273"]
[9,"流动相瓶子","溶剂瓶-100ml","个",5,"上海通微毛细管电泳仪TRISEP-2100 使用，其订货号：80114"]
[10,"电动橡胶塞打孔器","02006/1-13mm","台",1]
[11,"电热套","ZHQ型磁力平底电热套100ml","台",30,"巩义市予华仪器有限公司"]
[12,"调压器","TDGC2-1000","台",20,"浙江天正电气股份有限公司"]
[13,"紫外灯","UV-8型","个",3]
[14,"红外线快速干燥箱","WS70-1","台",3]
[15,"SZCL-2数显智能控温磁力搅拌器",null,"台",10]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}