{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"external_links":1,"defined_names":2},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":131,"n_cols":7,"rows_kept":131,"merged":[[0,1,0,6],[1,0,1,6]],"flags":["formulas_cached_only"]}
[null,"化材学院基础实验低值易耗品"]
["2017年化材学院化学实验中心拟购低值易耗品一览表"]
["序号","货品名称","规格","单位","采购数量","单价","总金额"]
[1,"白大口瓶（广口瓶）","只","125ml",180]
[2,"白大口瓶（广口瓶）","只","1000mL",50]
[3,"白小口瓶（试剂瓶）","1000ml","只",410]
[4,"白小口瓶（试剂瓶）","500mL","只",1560]
[5,"白小口瓶（试剂瓶）","5000mL","只",19]
[6,"白小口瓶（试剂瓶）","250mL","只",20]
[7,"白小口瓶(试剂瓶)                                                                                                                                                                                                                                                                                                                                                                                           ","3L","只",30]
[8,"表面皿","中号80mm","个",250]
[9,"表面皿","中号70mm","个",70]
[10,"玻璃棒","L*200","支",400]
[11,"玻璃棒","L*150","支",270]
[12,"不锈钢药匙或牛角药匙","1*3","套",200]
[13,"称量瓶","只","40*25",200]
[14,"抽滤瓶","500Ml","只",30]
[15,"瓷坩埚","50mL","个",90]
[16,"磁铁","直径2mm","个",70]
[17,"刺形分馏柱","19#/200","只",80]
[18,"大号钢镊子","20cm","只",90]
[19,"滴定台",null,"个",170]
[20,"滴管","160mm","支",820]
[21,"滴瓶","125ml","只",2350]
[22,"滴瓶","125ml棕色","只",150]
[23,"点样毛细管","0.3*100","盒",10]
[24,"碘量瓶","只","250mL",230]
[25,"电子天平","最大称量200g/0.01","台",4]
[26,"定性滤纸","12.5cm","盒",530]
[27,"定性滤纸","7cm","盒",570]
[28,"封口（测熔点）毛细管","盒","0.9-1.1*12",15]
[29,"盖玻片","20*20mm","只",40]
[30,"坩埚钳",null,"只",70]
[31,"干燥器","24Cm","个",2]
[32,"硅胶管","15*20mm","米",200]
[33,"恒压滴液漏斗","50ML/19#","只",15]
[34,"火柴",null,"盒",150]
[35,"碱式滴定管","支","50mL",100]
[36,"酒精灯","250Ml","个",160]
[37,"酒精温度计","200C","支",340]
[38,"酒精温度计","100C","支",220]
[39,"可调电炉","1000W","台",130]
[40,"空心塞","19#","只",30]
[41,"拉伸冲击板","150*13*4mm","块",200]
[42,"离心管","10mL","只",1000]
[43,"离心试管","10ml","支",400]
[44,"梨形分液漏斗","60mL","个",110]
[45,"梨形瓶","25/19#","只",150]
[46,"量筒","100ml","个",350]
[47,"量筒","10ml","个",370]
[48,"龙口瓶","10 L","个",5]
[49,"球形冷凝管","19#/20Cm","只",80]
[50,"容量瓶","50mL","只",930]
[51,"容量瓶","100mL","只",420]
[52,"容量瓶","25mL","只",200]
[53,"容量瓶","250mL","只",90]
[54,"容量瓶","1000mL","只",45]
[55,"乳胶头","50个/袋","袋",60]
[56,"软质玻璃管","5×7","Kg",5]
[57,"三角漏斗","4.5ml","只",150]
[58,"三角漏斗","7.5ml","只",100]
[59,"三角漏斗","9.0mL","只",75]
[60,"三角瓶（锥形瓶）","250mL","只",500]
[61,"三角瓶（锥形瓶）","150mL","只",300]
[62,"三口烧瓶","250Ml/19#@","只",15]
[63,"三通","外径9mm","个",30]
[64,"烧杯","500mL","只",390]
[65,"烧杯","10000mL","只",16]
[66,"烧杯","100mL","只",550]
[67,"烧杯","5000mL","只",29]
[68,"烧杯","50mL","只",510]
[69,"烧杯","250mL","只",350]
[70,"烧杯","1000mL","只",36]
[71,"烧瓶夹",null,"个",290]
[72,"烧瓶刷","150m","支",130]
[73,"十字夹",null,"个",300]
[74,"十字头（蝴蝶夹）",null,"个",230]
[75,"石棉网",null,"个",340]
[76,"试管","15*150","支",2000]
[77,"试管","10*100","支",1000]
[78,"试管夹",null,"个",400]
[79,"试管架","聚四氟乙烯类","个",100]
[80,"试管刷","大","只",160]
[81,"试管刷","小","支",180]
[82,"试管刷","小","支",50]
[83,"试剂瓶","5L","个",6]
[84,"水舀子",null,"个",10]
[85,"四氟搅拌子","2cm","个",100]
[86,"四氟搅拌子","10cm","个",100]
[87,"塑料漏斗",null,"个",10]
[88,"塑料桶","50L","个",10]
[89,"酸式滴定管","支","50mL",130]
[90,"酸式滴定管","50ML","个",70]
[91,"台秤","100g","100g",50]
[92,"台秤","500g","500g",23]
[93,"铁坩埚","60ml","只",70]
[94,"铁架台",null,"个",340]
[95,"铁圈","中号","个",220]
[96,"托盘天平","500g","台",70]
[97,"弯管塞","19#/10Ml","只",20]
[98,"温度计套管","19#","个",150]
[99,"洗耳球","小","个",400]
[100,"洗瓶","塑料500ml","个",280]
[101,"洗气瓶",null,"个",15]
[102,"橡皮管","6*9","米",650]
[103,"橡皮塞","7号","个",70]
[104,"橡皮塞","1-号","Kg",15]
[105,"研钵","90mm","只",30]
[106,"一次性乳胶手套",null,"副",210]
[107,"移液管架",null,"个",70]
[108,"移液可读吸管","20ml","支",150]
[109,"移液可读吸管","25mL","支",100]
[110,"移液吸管","10ml","支",390]
[111,"移液吸管","5ml","支",400]
[112,"移液吸管","25ml","支",200]
[113,"移液吸管","1ml","支",200]
[114,"移液吸管","2ml","支",200]
[115,"圆底烧瓶","50Ml/19#","只",150]
[116,"圆底烧瓶","250Ml/19#","只",100]
[117,"圆底烧瓶","100Ml/19#","只",40]
[118,"圆底烧瓶","25Ml/19#","只",10]
[119,"真空管",null,"米",150]
[120,"真空接收管","19*2","只",80]
[121,"蒸发皿","150mL","个",100]
[122,"蒸馏头","19#","只",80]
[123,"直形冷凝管","19#/20Cm","大",80]
[124,"止水夹",null,"个",30]
[125,"锥形瓶","250mL","瓶",270]
[126,"棕色小口瓶（试剂瓶）","1000mL","只",50]
[127,"电热套","100 mL","个 ",80]
[{"$nulls":5},"总金额"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}